## Slide 1: Fault Diagnostic Evaluations
Presented by: Renato Millan
Faculty Mentor: Dr. Alberto Cerpa

## Slide 2: Outline
Motivation
Related work
Models
Experiments
Evaluations
Demo
Conclusion

## Slide 3: Motivation
In 2021, US total energy consumption
3.9 trillion kwh
Source: www.eia.gov

## Slide 4: HVAC systems consumption
Residential sector’s energy consumption on cooling
235 billion kWh

## Slide 5: Pivotal issue
How can building HVAC system know that a HVAC sensor or sensors is feeding false data?
Faulty data -> wrong inputs and outputs -> inefficient heating/cooling -> discomfort, rising cost, and energy waste
Garbage in and garbage out

## Slide 6: Main features of HVAC
Supply temperature
Outdoor temperature
Zone temperatures
Air flow

## Slide 7: Simple HVAC system
Supply temperature (Ts)
Mass
Flow (Mz)

## Slide 8: My approach
Evaluate how different machine learning algorithms performance with error simulation models
Creating a webapp that will choose the best model under these errors

## Slide 9: Error models
Error model | Formulas
constant | X’ = a + x + err
gain | X’ = a*x + err
Stuck | X’ = a
Variation of gain over time | X’ = v * x + err, where v is changing over time
Constant + gain | X’ = a*x + b + err, where b is constant

## Slide 10: Models
Boosting Decision trees
Bagging Decision trees
Notes: use the dataset features to create yes/no questions and continually split the dataset until you isolate all data points belonging to each class.
Boosting each classifier is trained on data, taking into account the previous classifiers’ success.
After each training step, the weights are redistributed. Misclassified data increases its weights to emphasise the most difficult cases.
Bagging random sampling with replacement
Every time you ask a question, you’re adding a node to the tree. And the first node is called the root node.

## Slide 11: Boosting and Bagging
Notes: a numerical optimisation problem where the objective is to minimise the loss function of the model by adding weak learners using gradient descent = gradient descent boosting

## Slide 12: Why Boosted Decision tree ?
Boosted Decision tree is a supervised learning model that can be used for regression or classification analysis.
Capable of capturing complex patterns in the data.
Notes: train multiple trees one stage at a time. In each, we construct a single tree to correct the errors of the previously fitted ones.

## Slide 13: Why Bagging decision tree?
Helps in the reduction of variance
Tries to solve the over fitting problem

## Slide 14: Limitation/tradeoff of both models
Boosting may increase overfitting
Bagging will rarely get a better bias
Tradeoffs is decreasing variance or bias
Notes: Certain elements are overweighted or overrepresented like outlyers

## Slide 15: Experiment
Location: Chicago, IL
HVAC system: single duct AHU
Data Generation Method: Simulation using EnergyPus and Modelica
Time scope: 1 year (365 days)
Data sample rate: 1 minute
Data points: 30

## Slide 16: System Type and Diagram
Notes: Cubic free per minute = air flow

## Slide 17: Diagram of HVAC

## Slide 18: Graph of temperature

## Slide 19: Heatmap

## Slide 20: Evaluation For Boosted Decision trees
Boosted decision tree model for all errors
Confusion matrix
Cross validation score | percentage
Accuracy score | 98.8
Auc score | 99.3
Number of mislabeled points out of total: | 1255
 | Actual positives | Actual negative
Predicted positives | 933340 | 1255
Predicted negatives | 0 | 10510

## Slide 21: Evaluation for Bagging Decision Trees
Bagging decision tree model for all errors (average)
Confusion matrix
Cross validation score | percentage
Accuracy score | 99.8
Auc score | 99.6
Number of mislabeled points out of total: | 656
 | Actual positives | Actual negative
Predicted positives | 93939 | 656
Predicted negatives | 0 | 10510

## Slide 22: Tools
Used these tool to make the measuring app
Used these tool to make the data web app to deploy my models

## Slide 23: Demo

## Slide 24: Future works/goals
Use more metrics to see if the models maintain current performance
Adapt these models to classify sensors in real time and make correction to the faulty sensor

## Slide 25: Related work
Automatic Building Fault Diagnostic System using Smartphone
OFFICE: Optimization Framework For Improved Comfort and Efficiency

## Slide 26: Thank You
Special thanks to
  Dr. Cerpa
  All you guys

## Slide 27: Work Cited
Erickson, Varick L., and Alberto E. Cerpa. "Thermovote: participatory sensing for efficient building hvac conditioning." Proceedings of the Fourth ACM Workshop on Embedded Sensing Systems for Energy-Efficiency in Buildings. 2012.
https://www.whitehouse.gov/wp-content/uploads/2021/10/US-Long- Term-Strategy.pdf, The United Stated of America, The Long-Term Strategy of the United States: Pathways to Net-Zero Greenhouse Gas Emissions by 2050., The United States Department of State and the United States Executive Office of the President, Washington DC. November 2021
Rafati, A.; Shaker, H.R.; Ghahghahzadeh, S. Fault Detection and Efficiency Assessment for HVAC Systems Using Non-Intrusive Load Monitoring: A Review. Energies 2022, 15, 341. https://doi.org/10.3390/ en15010341